## Folha1
|  | Digital_Outputs | [6 empty] | Digital_Inputs |  |  | Analog_Outputs |  |  | Analog_Inputs
| Memória | Posição | Dispositivo |  |  |  |  | Memória | Posição | Dispositivo | Holding Reg | Memoria | Dispositivo | Inputs Reg | Memoria | Dispositivo
0 | %D10 | 0 | Botão Start(indicador) |  |  |  | 0 | %D20 | 0 | Botão Start | 0 | %D30 | Stacker Crane 1 Target Position | 0 | %D55 | Medidor Altura 1 (V)
1 |  | 1 | Botão Stop(indicador) |  |  |  | 1 |  | 1 | Botão Stop | 1 | %D31 | Stacker Crane 3 Target Position | 1 | %D56 | Medidor Altura 2 (V)
2 |  | 2 | LED Botão Start |  |  |  | 2 |  | 2 | Botão Emergência | 2 | %D32 | Esteira Transportadora 9 (10(V)) | 2 | %D57 | Balança 1 Peso (V)
3 |  | 3 | LED Botão Stop |  |  |  | 3 |  | 3 | Sensor Difuso 1 | 3 | %D33 | Esteira Transportadora 10 (10(V)) | 3 | %D58 | Balança 2 Peso (V)
4 |  | 4 | LED Botão Emergência |  |  |  | 4 |  | 4 | Sensor Difuso 2 | 4 | %D34 | Esteira Transportadora 17 (10(V))
5 |  | 5 | Emissor Caixa |  |  |  | 5 |  | 5 | Sensor Difuso 3 | 5 | %D35 | Esteira Transportadora 18 (10(V))
6 |  | 6 | Emissor Palete 1 |  |  |  | 6 |  | 6 | Sensor Difuso 26 | 6 | %D36 | Loading Convoyer 1 (V)
7 |  | 7 | Emissor Palete 2 |  |  |  | 7 |  | 7 | Sensor Difuso 4 | 7 | %D37 | Loading Convoyer 2 (V)
8 |  | 8 | Tapete 1 |  |  |  | 8 |  | 8 | Sensor Difuso 5 | 8 | %D38 | Loading Convoyer 3 (V)
9 |  | 9 | Tapete 2 |  |  |  | 9 |  | 9 | Sensor Difuso 6 | 9 | %D39 | Loading Convoyer 4 (V)
10 |  | 10 | Tapete 3 |  |  |  | 10 |  | 10 | Sensor Difuso 7 | 10 | %D40 | Display Caixa L
11 |  | 11 | Tapete 4 |  |  |  | 11 |  | 11 | Sensor Difuso 8 | 11 | %D41 | Display caixa M
12 |  | 12 | Tapete 5 |  |  |  | 12 |  | 12 | Sensor Difuso 9 | 12 | %D42 | Display caixa S
13 |  | 13 | Tapete 6 |  |  |  | 13 |  | 13 | Sensor Difuso 10
14 |  | 14 | Tapete Peso 1 (+) |  |  |  | 14 |  | 14 | Sensor Difuso 11
15 |  | 15 | Tapete Peso 2 (+) |  |  |  | 15 |  | 15 | Sensor Difuso 12
0 | %D11 | 16 | Esteira Transportadora 1 |  |  |  | 0 | %D21 | 16 | Sensor Difuso 13
1 |  | 17 | Esteira Transportadora 2 |  |  |  | 1 |  | 17 | Sensor Difuso 14
2 |  | 18 | Esteira Transportadora 3 |  |  |  | 2 |  | 18 | Sensor Difuso 15
3 |  | 19 | Esteira Transportadora 4 |  |  |  | 3 |  | 19 | Sensor Difuso 16
4 |  | 20 | Esteira Transportadora 5 |  |  |  | 4 |  | 20 | Sensor Difuso 17
5 |  | 21 | Esteira Transportadora 6 |  |  |  | 5 |  | 21 | Sensor Difuso 18
6 |  | 22 | Esteira Transportadora 7 |  |  |  | 6 |  | 22 | Sensor Difuso 19
7 |  | 23 | Esteira Transportadora 8 |  |  |  | 7 |  | 23 | Sensor Difuso 20
8 |  | 24 | Esteira Transportadora 11 |  |  |  | 8 |  | 24 | Sensor Difuso 21
9 |  | 25 | Esteira Transportadora 12 |  |  |  | 9 |  | 25 | Sensor Difuso 22
10 |  | 26 | Esteira Transportadora 13 |  |  |  | 10 |  | 26 | Sensor Difuso 23
11 |  | 27 | Esteira Transportadora 14 |  |  |  | 11 |  | 27 | Sensor Difuso 24
12 |  | 28 | Esteira Transportadora 15 |  |  |  | 12 |  | 28 | Sensor Difuso 25
13 |  | 29 | Esteira Transportadora 16 |  |  |  | 13 |  | 29 | Sensor Refeltico 1
14 |  | 30 | Pusher 1 |  |  |  | 14 |  | 30 | Sensor Refeltico 2
15 |  | 31 | Pusher 2 |  |  |  | 15 |  | 31 | Sensor Refeltico 3
0 | %D12 | 32 | Two-Axis Pick & Place 1 X |  |  |  | 0 | %D22 | 32 | Sensor Refeltico 4
1 |  | 33 | Two-Axis Pick & Place 1 Z |  |  |  | 1 |  | 33 | Sensor Refeltico 5
2 |  | 34 | Two-Axis Pick & Place 2 X |  |  |  | 2 |  | 34 | Sensor Refeltico 6
3 |  | 35 | Two-Axis Pick & Place 2 Z |  |  |  | 3 |  | 35 | Pusher 1(Limite Frontal)
4 |  | 36 | Two-Axis Pick & Place 1 (Grab) |  |  |  | 4 |  | 36 | Pusher 2(Limite Frontal)
5 |  | 37 | Two-Axis Pick & Place 2 (Grab) |  |  |  | 5 |  | 37 | Pusher 1(Limite Traseiro)
6 |  | 38 | Two-Axis Pick & Place 1 Rotate CW |  |  |  | 6 |  | 38 | Pusher 2(Limite Traseiro)
7 |  | 39 | Two-Axis Pick & Place 2 Rotate CW |  |  |  | 7 |  | 39 | Stacker Crane 1 Moving-X
8 |  | 40 | Two-Axis Pick & Place 1 Gripper CW |  |  |  | 8 |  | 40 | Stacker Crane 1 Moving-Z
9 |  | 41 | Two-Axis Pick & Place 1 Rotate CCW |  |  |  | 9 |  | 41 | Stacker Crane 3 Moving-X
10 |  | 42 | Two-Axis Pick & Place 2 Gripper CW |  |  |  | 10 |  | 42 | Stacker Crane 3 Moving-Z
11 |  | 43 | Two-Axis Pick & Place 2 Rotate CCW |  |  |  | 11 |  | 43 | Stacker Crane 1 Left Limit
12 |  | 44 | Two-Axis Pick & Place 1 Gripper CCW |  |  |  | 12 |  | 44 | Stacker Crane 3 Left Limit
13 |  | 45 | Two-Axis Pick & Place 2 Gripper CCW |  |  |  | 13 |  | 45 | Stacker Crane 1 Right Limit
14 |  | 46 | Stacker Crane 1 Lift |  |  |  | 14 |  | 46 | Stacker Crane 3 Right Limit
15 |  | 47 | Stacker Crane 3 Lift |  |  |  | 15 |  | 47 | Stacker Crane 1 Middle Limit
0 | %D13 | 48 | Stacker Crane 1 (Left) |  |  |  | 0 | %D23 | 48 | Stacker Crane 3 Middle Limit
1 |  | 49 | Stacker Crane 3 (Left) |  |  |  | 1 |  | 49 | Two-Axis Pick & Place 2 (Rotating)
2 |  | 50 | Stacker Crane 1 (Right) |  |  |  | 2 |  | 50 | Two-Axis Pick & Place 1 (Detected)
3 |  | 51 | Stacker Crane 3 (Right) |  |  |  | 3 |  | 51 | Two-Axis Pick & Place 1 (Moving X)
4 |  | 52 | Remover 1(Remove) |  |  |  | 4 |  | 52 | Two-Axis Pick & Place 1 (Moving Z)
5 |  | 53 | Remover 3(Remove) |  |  |  | 5 |  | 53 | Two-Axis Pick & Place 1 (Rotating)
6 |  | 54 | Led Colocar |  |  |  | 6 |  | 54 | Two-Axis Pick & Place 2 (Detected)
7 |  | 55 | Led Remover |  |  |  | 7 |  | 55 | Two-Axis Pick & Place 2 (Moving X)
8 |  | 56 |  |  |  |  | 8 |  | 56 | Two-Axis Pick & Place 2 (Moving Z)
9 |  | 57 |  |  |  |  | 9 |  | 57 | Two-Axis Pick & Place 1 (Gripper Rotating)
10 |  | 58 |  |  |  |  | 10 |  | 58 | Two-Axis Pick & Place 2 (Gripper Rotating)
11 |  | 59 |  |  |  |  | 11 |  | 59 | Sensor Difuso 27
12 |  | 60 |  |  |  |  | 12 |  | 60 | Sensor Difuso 28
13 |  | 61 |  |  |  |  | 13 |  | 61 | Botão Colocar
14 |  | 62 |  |  |  |  | 14 |  | 62 | Botão Remover
15 |  | 63 |  |  |  |  | 15 |  | 63 | Botão Nova Caixa
|  |  |  | Info Caixas | S | M | L
|  |  |  | Anal_Peso | 4.0 | 5.0 | 7.5
|  |  |  | Anal_Altura | 1.3 | 1.3 | 2.5